## Slide 1: Chest X-Ray Classification Group Q

## Slide 2: Project analysis slide 3
Problem overview
Why early diagnosis is important?
Methods of Diagnosis
This project
Early diagnosis of diseases like pneumonia and COVID19 leads to decreased mortality rate. Also a powerful way to manage pandemic.
Diseases can be diagnosed by using variety of tests like CT scan, PCR, pulse oximetry but X-rays are the most accessible.
Since the x-rays are available in minutes makes it fastest way of diagnosis.
Main bottleneck is expert radiologist needed to evaluate the scan.
This project is an attempt to compare the three backbone architectures and lung disease dataset that works best for lung disease classification.
A detailed comparison of results across architectures and datasets along with the best model in terms of efficiency and F1 score.
Main Challenges
Earlier attempts to solve the problem
Many attempts earlier done to solve this problem with deep learning but so far have not been come up to make models that can replace radiologist. Other challenge include explainability as in the medical field reasoning is important for patients and doctors.
Small and Highly Imbalanced datasets.
Different radiographic contrast of x-ray images among different scanners.
Limitation of resources for pre-processing, training, data augmentation. Also long training times of deep architecture models create challenges.

## Slide 3: Project analysis slide 2
Goals
Chest X-ray Classification
Perform Ablative Study
Perform Hyper-parameter tuning
Reduce Mortality Rate
Applying CNN for classifying Chest X-Rays
Comparison across baseline
architectures
Visualization using Gradcam and t-SNE
Notes: Applying CNN ……
The main goal of this project was to achieve high F1 score to attain the correct classification of various diseases like COVID19, Viral and Backterial Pneumonia, Nodule, Mass, Effusion etc using Convolution Neural Network in Deep Learning.
Comparison across …
We explored some classic backbone architectures like EffcientNet, MobileNet and ResNet.
Visualization using Gradcam and t-SNE
To explain the behaviour of model in human terms, we are performing visualizations using gradcam and tsne

## Slide 4: Project analysis slide 8
Type of data
COVID
Pneumonia
SIZE
# IMAGES
Chest X-Ray8
3.6K : 3.6K : 1.3K
3K : 1.5K : 1.5K
25K : 12K : 6K : 5K : 3K : 2.7K : 2.6K
299 X 299
224 X 224
1024 X 1024
CLASSES
3
7
3
Dataset

## Slide 5: Project analysis slide 5
Methodology
Different values of learning rate (0.1, 0.05, 0.001, 0.005) alpha taken for ablative study
HYPERPARAMETER TUNING
All scans divided into 70:15:15 split for train, validation and test set
TRAIN VALIDATION TEST SPLIT
ADAM optimizer used along with cross entropy loss
OPTIMIZER AND LOSS FUNCTION
Hyperparameters will be fixed across models to produce comparable results
HYPERPARAMETERS
Histogram Equalization and Gaussian Blur with a 5X5 filter.
DATA PREPROCESSING
Cosine Annealing LR
SCHEDULER USED
12 models i:e 4 for each dataset will be trained and fourth model will be trained using transfer learning. Backbone models used are Resnet34, Mobile Net V3 large and Efficient Net V0
MODELS TRAINED
GRADCAM and TSNE visualization plots created for explainability
MODEL VISUALIZATION
During training, images were augmented using Random Horizontal flip, RandomAdjust Sharpness and RandomAutoContrast in Pytorch.
DATA AUGUMENTATION

## Slide 6: Project analysis slide 6
Results
Small to bigger architecture makes the model overfit.
MobileNet model was most unstable among the three datasets
The EfficientNet algorithm performs best for the COVID and Chest X-ray 8 dataset
Surprisingly, the pneumonia dataset performed worse than the COVID pneumonia dataset
In Fig. 4 it can be seen that the transfer learning model converged much quicker than the model trained from scratch
Notes: Results: From Fig. 3 it is clear that going from a smaller architecture to a bigger architecture, makes the model start to overfit earlier. The MobileNet model was the most unstable among the three and also took more epochs to reach the minima. The EfficientNet algorithm performs best for the COVID and Chest X-ray 8 dataset and all three architectures perfolar for the pneumonia dataset. This shows that the compound scaline of EfficientNet gives good results for chest X-ray data. The X-ray 8 dataset performed the worst among the three datasets which could be due to the high number of classes, class imbalance and the multilabel nature of the problem. Surprisingly, the pneumonia dataset performed worse than the COVID + pneumonia dataset which indicates that COVID cases are easier to distinguish from pneumonia cases.
In Fig. 4 it can be seen that the transfer learning model had a much better start than the randomly initialized model. It also converged much quicker than the model trained from scratch. For the Pneumonia dataset, the model trained from scratch was highly unstable at the start and could not catch up to the transfer learning model even after 100 epochs in terms of the F1 score.

## Slide 7: Project analysis slide 6
Results
Fig. 5 shows that the models are able to differentiate well between the normal and pneumonia classes but struggle with the viral pneumonia vs bacterial pneumonia classification
The EfficientNet transfer learning model performs the best amongst all models and hence would generalize well on new unseen data.
Fig. 6 shows that all models do a good job of separating classes to create distinct clusters but, the transfer learning model creates better clusters with separate smaller clusters
. The performance of all the models can be verified by looking at the confusion matrices as well.
Notes: Fig. 5 shows that the models are able to differentiate
well between the normal and pneumonia classes but
struggle with the viral pneumonia vs bacterial pneumonia
classification. MobileNet performs better but the EfficientNet transfer learning model creates better
separation of classes. Thus, even though MobileNet
performs better in this case, the EfficientNet transfer
learning model would generalize well on new unseen
data. This is correlated in the confusion matrix where
the transfer learning and MobileNet models perform
the best.
Fig. 6 shows that all models do a good job of separating
classes to create distinct clusters but, the transfer
learning model creates better clusters with separate
smaller clusters. These smaller clusters could indicate
other factors of the disease, for example the severity
and amount of lung damage caused by the disease. This
performance of the transfer learning model can be confirmed
by looking at the confusion matrix as well.

## Slide 8: Project analysis slide 6
Results
GradCam uses the feature map produced by the last convolutional layer of the CNN.
It can be seen that the ResNet is learning completely different features as compared to the other models.
Efficient Net Transfer Learning model provided the highest accuracy and hence highlighted the correct features with the high intensity color that helped in predicting the correct class.
Notes: Fig. 7 shows the gradCAM visualization of the last
layer of the convolutional network. Here it can be seen
that the ResNet is learning completely different features
as compared to the other models. This could be
the reason for its low performance. In case of bacterial
pneumonia, the network identifies affected area on
the right side of the scan. On the other hand, in case
of viral pneumonia, models look at both sides of the
lungs. This correlates with the actual progrssion of
these diseases as given in Sec. 2.
Fig. 8 shows that MobileNet activates the entire image
incase of COVID, this be the reason for its low
performance. In case of pneumonia, the EfficientNet
models identifies affected areas on the bootom of the
lungs. On the other hand, in case of COVID, the models
look at a bigger region of the lungs. This correlates
with how these diseases impact the lungs as given in
Sec. 2.

## Slide 9: Project analysis slide 6
Ablation Studies
In Fig. 9 it is seen that a very high learning rate of 0.1 is highly unstable and prevents the model from reaching close to global minima.
The learning rate of 0.001 was the most stable and reached the highest F1 score earlier.
Fig. 10 it can be seen that the best performing learning rate is 0.001 on the F1 score of the test set with 0.005, 0.01 close second and 0.05, 0.1 performing the worst
Notes: Ablative Study: For the ablative study, the
COVID dataset was chosen along with the Efficient-
Net B1 architecture trained from scratch. The learning
rates chosen for the study are 0.001, 0.005, 0.01,
0.05, and 0.1. From the training and validation F1
score and loss plots given in Fig. 9 it is seen that a
very high learning rate of 0.1 is highly unstable and
prevents the model from reaching close to global minima.
Similarly, learning rate of 0.05 also prevented the
model from converging on the validation set even after
100 epochs. The other three learning rates all converged
on the validation set but, the learning rate of
0.001 was the most stable and reached the highest F1
score earliest. On the other hand, learning rate of 0.01
performed marginally better on the loss plot. From
Fig. 10 it can be seen that the best performing learning
rate is 0.001 on the F1 score of the test set with
0.005, 0.01 close second and 0.05, 0.1 performing the
worst. This matches the results of the validation set
on Fig. 9. Thus, a learning rate of 0.001 performs the
best on the COVID dataset with the transfer learning
EfficientNet model.

## Slide 10: Project analysis slide 6
References
1) Wang, X., Peng, Y., Lu, L., Lu, Z., Bagheri, M. and Summers, R.M., 2017. Chestx-ray8: Hospital-scale chest x-ray database and benchmarks on weakly-supervised classification and localization of common thorax diseases. In Proceedings of the IEEE conference on computer vision and pattern recognition (pp. 2097-2106).
2) Kermany, D.S., Goldbaum, M., Cai, W., Valentim, C.C., Liang, H., Baxter, S.L., McKeown, A., Yang, G., Wu, X., Yan, F. and Dong, J., 2018. Identifying medical diagnoses and treatable diseases by image-based deep learning. Cell, 172(5), pp.1122-1131.
3) National Institutes of Health, 2022. NIH clinical center provides one of the largest publicly available chest x-ray datasets to scientific community
4) Wang, G., Liu, X., Shen, J., Wang, C., Li, Z., Ye, L., Wu, X., Chen, T., Wang, K., Zhang, X. and Zhou, Z., 2021. A deep-learning pipeline for the diagnosis and discrimination of viral, non-viral and COVID-19 pneumonia from chest X-ray images. Nature biomedical engineering, 5(6), pp.509-521.
5) Xu, L., Li, D., Ramadan, S., Li, Y. and Klein, N., 2020. Facile biosensors for rapid detection of COVID-19. Biosensors and Bioelectronics, 170, p.112673.
6) Sandler, M., Howard, A., Zhu, M., Zhmoginov, A. and Chen, L.C., 2018. Mobilenetv2: Inverted residuals and linear bottlenecks. In Proceedings of the IEEE conference on computer vision and pattern recognition (pp. 4510-4520).