## Slide 1: Chest X-Ray Classification Group Q

## Slide 2: Project analysis slide 3
Problem overview
Why early diagnosis is important?
Methods of Diagnosis
This project
Early diagnosis of diseases like pneumonia and COVID19 leads to decreased mortality rate. Also a powerful way to manage pandemic.
Diseases can be diagnosed by using variety of tests like CT scan, PCR, pulse oximetry but X-rays are the most accessible.
Since the x-rays are available in minutes makes it fastest way of diagnosis.
Main bottleneck is expert radiologist needed to evaluate the scan.
This project is an attempt to compare the three backbone architectures and lung disease dataset that works best for lung disease classification.
A detailed comparison of results across architectures and datasets along with the best model in terms of efficiency and F1 score.
Main Challenges
Earlier attempts to solve the problem
Many attempts earlier done to solve this problem with deep learning but so far have not been come up to make models that can replace radiologist. Other challenge include explainability as in the medical field reasoning is important for patients and doctors.
Small and Highly Imbalanced datasets.
Different radiographic contrast of x-ray images among different scanners.
Limitation of resources for pre-processing, training, data augmentation. Also long training times of deep architecture models create challenges.

## Slide 3: Project analysis slide 2
Goals
Chest X-ray Classification
Explainable Model with Gradcam & TSNE
Reduce mortality rate
Comparison of results across architectures
Deep Learning on chest x-ray using CNN
Perform Hyper parameter Tuning
Perform Ablative Study

## Slide 4: Project analysis slide 8
Type of data
COVID
Pneumonia
SIZE
# IMAGES
Chest X-Ray8
10K : 3.6K : 1.3K
3K : 1.5K : 1.5K
25K : 12K : 6K : 5K : 3K : 2.7K : 2.6K
299 X 299
224 X 224
1024 X 1024
CLASSES
3
3
7

## Slide 5: Project analysis slide 8
Type of data
COVID
Pneumonia
Chest X-Ray8
NORMAL
BACTERIAL PNEUMONIA
VIRAL PNEUMONIA
COVID
NORMAL
VIRAL PNEUMONIA
ATELECTASIS
EFFUSION
MASS
NODULE
PNEUMOTHORAX
NO FINDING
CONSOLIDATION

## Slide 6: Project analysis slide 5
Methodology
Different values of learning rate (0.1, 0.01, 0.05, 0.001, 0.005) alpha taken for ablative study
HYPERPARAMETER TUNING
All scans divided into 70:15:15 split for train, validation and test set
TRAIN VALIDATION TEST SPLIT
ADAM optimizer used along with cross entropy loss
OPTIMIZER AND LOSS FUNCTION
Hyperparameters will be fixed across models to produce comparable results
HYPERPARAMETERS
Histogram Equalization and Gaussian Blur with a 5X5 filter.
DATA PREPROCESSING
Consine Annealing LR
SCHEDULER USED
12 models i:e 4 for each dataset will be trained and fourth model will be trained using transfer learning. Backbone models used are Resnet34, Mobile Net V3 large and Efficient Net V0
MODELS TRAINED
GRADCAM and TSNE visualization plots created for explainability
MODEL VISUALIZATION
During training, images were augmented using Random Horizontal flip, RandomAdjust Sharpness and RandomAutoContrast in Pytorch.
DATA AUGUMENTATION

## Slide 7: Project analysis slide 6
Results

## Slide 8: Project analysis slide 6
Results

## Slide 9: Project analysis slide 6
Model Visualization

## Slide 10: Project analysis slide 6
Ablation Studies

## Slide 11: Project analysis slide 6
References
1) Wang, X., Peng, Y., Lu, L., Lu, Z., Bagheri, M. and Summers, R.M., 2017. Chestx-ray8: Hospital-scale chest x-ray database and benchmarks on weakly-supervised classification and localization of common thorax diseases. In Proceedings of the IEEE conference on computer vision and pattern recognition (pp. 2097-2106).
2) Kermany, D.S., Goldbaum, M., Cai, W., Valentim, C.C., Liang, H., Baxter, S.L., McKeown, A., Yang, G., Wu, X., Yan, F. and Dong, J., 2018. Identifying medical diagnoses and treatable diseases by image-based deep learning. Cell, 172(5), pp.1122-1131.
3) National Institutes of Health, 2022. NIH clinical center provides one of the largest publicly available chest x-ray datasets to scientific community
4) Wang, G., Liu, X., Shen, J., Wang, C., Li, Z., Ye, L., Wu, X., Chen, T., Wang, K., Zhang, X. and Zhou, Z., 2021. A deep-learning pipeline for the diagnosis and discrimination of viral, non-viral and COVID-19 pneumonia from chest X-ray images. Nature biomedical engineering, 5(6), pp.509-521.
5) Xu, L., Li, D., Ramadan, S., Li, Y. and Klein, N., 2020. Facile biosensors for rapid detection of COVID-19. Biosensors and Bioelectronics, 170, p.112673.
6) Sandler, M., Howard, A., Zhu, M., Zhmoginov, A. and Chen, L.C., 2018. Mobilenetv2: Inverted residuals and linear bottlenecks. In Proceedings of the IEEE conference on computer vision and pattern recognition (pp. 4510-4520).